Knowledge Hub-Bitesize Info Portable Appliances, Pre-User Check Awareness H&S Rely by Zurich Resilience Solutions

Introduction

Electricity can kill or severely injure people and cause damage to property. However, simple precautions [1] when working with portable electrical equipment to significantly reduce the risk of injury to you, and others around you.

Guidance

Portable appliance testing (PAT) is the term used to describe the formal examination and testing of electrical appliances and equipment to ensure they are safe to use. However, the importance of pre use checks should not be underestimated and seen as an essential part of using equipment. This is because wear and tear happens and some types of safety defects cannot be detected by testing alone. Therefore, before using electrical portable appliances, conduct a pre user check looking for the below.

What to check for:

- Check for an up-to-date PAT label

- Check that the plug is not damaged and that the cable is fully secured with no internal wires visible.

- Check the electrical cable is not damaged nor repaired with insulating tape or an unsuitable connector.

- Check that the outer cover of the equipment is not damaged.

- Check for burn marks or staining that suggests the equipment is overheating.

- Water and electricity do not mix, if cleaning electrical equipment ensure it is turned off and isolated from being switched back on accidentally.

- Do not use a wet plug or socket.

- If you are concerned about the safety of the equipment, take it out of use, label and quarantine the item, then report it.

Never:

- Position cables or wires that cause a trip hazard.

- Daisy chain extension leads together.

- Use extension leads coiled up.

- Overload sockets.

- Bring electrical items in from home for personal use.

This document has been produced solely for informational purposes. The information contained in this document has been compiled and obtained from sources believed to be reliable and credible, but no representation or warranty, express or implied, is made by any member company of the Zurich Insurance Group as to its accuracy or completeness. This document does not constitute, nor is it intended to be, legal, underwriting, financial, investment or any other type of professional advice. No member of Zurich Insurance Group accepts any liability arising from the use or distribution of this document, and any and all liability whatsoever resulting from the use of or reliance upon this document is expressly disclaimed. Nothing expressed or implied in this document is intended to, and does not, create legal or contractual relations between the reader and any member company of the Zurich Insurance Group. Any opinions expressed herein are made as of the date of their release and are subject to change without notice. This document is not, nor is it intended to be, an advertisement of an insurance product or the solicitation of the purchase of any insurance product, and it does not constitute an offer or an invitation for the sale or purchase of securities in any jurisdiction.

Zurich Resilience Solutions UK

Risk Support Services 6th Floor,

The Colmore Building

20 Colmore Circus,

Queensway Birmingham

B4 6AT

For further information about any of the topics mentioned in this document please speak to your local Zurich contact, or email Zurich Resilience Solutions at zrs.enquiries@uk.zurich.com or alternatively call this number +44 (0) 121 697 9131

For more information please visit https://www.zurich.co.uk/zurich-resilience-solutions

Zurich Management Services Limited, Registered in England and Wales no. 2741053, Registered Office: The Zurich Centre, 3000 Parkway, Whiteley, Fareham, Hampshire PO15 7JZ

©2025 Zurich Insurance Group Ltd.